Journal of Geophysical Research - Solid Earth

Supporting Information for

Lava rheological evolution and flow emplacement during the deep submarine Fani Maoré eruption (Mayotte)

Pauline Verdurme1, Oryaëlle Chevrel1,2,3, Etienne Médard1, Lucia Gurioli1, Carole Berthod2,4, Karoline Brückel1, Jean-Christophe Komorowski2 and Patrick Bachèlery1

1 Université Clermont Auvergne, CNRS, IRD, OPGC, Laboratoire Magmas et Volcans, F-63000 Clermont-Ferrand, France

2 Institut de physique du globe de Paris, Université Paris Cité, CNRS, F-75005 Paris, France

3 Observatoire volcanologique du Piton de la Fournaise, Institut de physique du globe de Paris, 97418, La Plaine des Cafres, France

4 Observatoire volcanologique et sismologique de la Guadeloupe, Institut de physique du globe de Paris, 97113, Gourbeyre, France

Contents of this file

Text S2

Introduction

The reader will find additional information on the methodology used in this study.

Text S2.

Glass chemistry

Chemical composition of the glass and olivine crystals were measured using the CAMECA SX Five Tactis electron microprobe at Laboratoire Magmas et Volcans (LMV, Clermont-Ferrand, France). For olivine crystals, we used a 15 kV accelerating potential and a 15 nA probe current with a focused beam for major and minor elements, with 10 s counting times. Both mineral rims and cores were analyzed although no difference was visible except for the reversely zoned olivine crystals. For glasses, we used an accelerating potential of 15 kV at a beam current of 8 nA. The spot size was increased to 20 μm diameter to avoid Na migration under the electron beam. The resulting compositions are an average of at least ten measurements. Natural and synthetic mineral standards, including orthoclase (K, Al), albite (Na), wollastonite (Si, Ca), fayalite (Fe), forsterite (Mg), TiMnO3 (Ti, Mn), NiO (Ni), Cr2O3 (Cr), and fluorapatite (P) were used for routine calibration. As the MgO content of quenched glass can provide a sensitive indicator to variations in lava temperature (e.g., Beattie, 1993; Helz and Thornber, 1987; Putirka, 2008), we decided to increase the counting time from 10 to 60 s to reduce the analytical errors on MgO analyses. Maximum errors (2σ, wt.%) for each oxides are ± 0.68 for SiO2, ± 0.25 for TiO2, ± 0.32 for Al2O3, ± 0.40 for FeO, ± 0.10 for MnO, ± 0.06 for MgO, ± 0.17 for CaO, ± 0.16 for Na2O, ± 0.12 for K2O and ± 0.23 for P2O5. The complete database with all glass and olivine crystal chemistry measurements are available in Supplementary Material S1.

Thermometry

Eruption temperatures were calculated using the glass olivine-saturation thermometer of Beattie (1993) as implemented in the open-source Python code Thermobar (Wieser et al., 2022), at a given pressure of 30 MPa (~3000 m deep). According to Putirka (2008) this is the best generic thermometer for mafic magmas. The estimated anhydrous temperature was corrected for the effect of the water content determined by micro-Raman spectrometry (1 wt.%, see below) using the olivine liquidus depression model of Médard and Grove (2008). Before thermometry calculations, we first confirmed that the glass was in equilibrium with olivine crystals by estimating the olivine-liquid Fe2+/Mg exchange coefficient, KD, for each glass measurement (KD = (FeO/MgO)olivine / (FeO/MgO)melt). In every case this was close to 0.3, thus, implying equilibrium between olivine and the surrounding magma (Roeder and Emslie, 1970).

Raman Spectrometry

Water content of the glass was measured in back-scattered geometry using a Renishaw InVia micro-Raman spectrometer equipped with a 532:1 ± 0:3 nm diode laser, a CCD (charge-coupled device) detector of 1040 × 256 pixels, a Rayleigh rejection edge filter, and a Leica DM2500 M optical microscope with a motorized XYZ stage at LMV. Analytical conditions were the following: output power: 210 mW, gratings: 2400, acquisition time: 180 s, standard conficality setting, 2 µm depth and a 5 mW laser power. Glass spectra were recorded using the WiRE™ 4.4 (Windows-based Raman Environment) software in the wavenumber ranges from 100 to 1350 cm-1 (aluminosilicate network region) and from 2900 to 3800 cm-1 (water region).

For water quantification in glasses, three basanitic reference glasses (BSN050417, BSN081117, BSN101117) of known water contents (Schiavi et al., 2018) were used as external standards and analyzed several times during the session. An additional standard of basaltic composition (82-72f#19) was used (Médard and Grove, 2008). The water content in the glass was determined following Schiavi et al. (2018). This method uses an external calibration based on the absolute intensities of the water band compared to that of the reference glasses. The areas of the water and silicate bands were determined after subtraction of a cubic and a multi-linear baseline, respectively, using PeakFit© software.

| Sample name | 2 anchors OH area | Normalized OH area | H2O wt.% | Comments |
| --- | --- | --- | --- | --- |
| PL_782_13_01_pt3 | 1416895 | 1574 | 1.05 | No Magnetite – Clean glass |
| PL_777_08_15_pt1 | 1337904 | 1487 | 0.99 | No Magnetite – Clean glass |

Reference:

Beattie, P., 1993. Olivine-melt and orthopyroxene-melt equilibria. Contr. Mineral. and Petrol. 115, 103–111. https://doi.org/10.1007/BF00712982

Médard, E., Grove, T.L., 2008. The effect of H2O on the olivine liquidus of basaltic melts: experiments and thermodynamic models. Contrib Mineral Petrol 155, 417–432. https://doi.org/10.1007/s00410-007-0250-4

Putirka, K.D., 2008. Thermometers and Barometers for Volcanic Systems. Reviews in Mineralogy and Geochemistry 69, 61–120. https://doi.org/10.2138/rmg.2008.69.3

Roeder, P.L., Emslie, R.F., 1970. Olivine-liquid equilibrium. Contr. Mineral. and Petrol. 29, 275–289. https://doi.org/10.1007/BF00371276

Schiavi, F., Bolfan-Casanova, N., Withers, A.C., Médard, E., Laumonier, M., Laporte, D., Flaherty, T., Gómez-Ulla, A., 2018. Water quantification in silicate glasses by Raman spectroscopy: Correcting for the effects of confocality, density and ferric iron. Chemical Geology 483, 312–331. https://doi.org/10.1016/j.chemgeo.2018.02.036

Wieser, P., Petrelli, M., Lubbers, J., Wieser, E., Ozaydin, S., Kent, A., Till, C., 2022. Thermobar: An open-source Python3 tool for thermobarometry and hygrometry. Volcanica 5, 349–384. https://doi.org/10.30909/vol.05.02.349384